# Annex 1: Technical Specification/Technical Offer form

**Supplier is asked to submit a sample for each item with his offer, otherwise the offer will not be considered**

## General description of Requirements;

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **#** | **Item** | **Requested Specifications** | **Offered Specifications**  **(To be filled by the supplier)** | **Unit** | **Estimated Qty** |
| 1. | SURGICAL MASK | Three layers, good breathability. Internal and external faces clearly identified. Efficient filtration rate, hypoallergic. Box of 50 masks |  | Box of 50 masks | 27,348 |
| 2. | RESPIRATOR MASK | N95 mask, Or something like that. |  | Mask | 22,770 |
| 3. | Gown | Disposable |  | set | 43,020 |
| 4. | REMOTE TEMPERATURE MEASUREMENT DEVICE | For human temperature measurement.  Temperature measuring range minimum of: 34- 40 C  Accuracy + 0.3 C  Minimum readings + 0.1 C  Measuring distance at least 5-15 cm  Response time: at least 1 second  Light weight  Uses batteries available in the local market |  | Device | 50 |
| 5. | ALCHOHOL / ETHANOL | 95% Or more, bottle 5 litters |  | bottle 5 litters | 6,528 |
| 6. | GLOVES - EXAMINATION - NON STERILE | Disposable, non-sterile. Latex and latex free, powder free, single use.  Long cuffs reaching well above the wrist.  Sizes: small, medium, large  Box of 100 gloves  For universal precaution measures to prevent transmission of blood and body fluid borne diseases.  To examine suspected patients only , those who are screened with respiratory symptoms |  | Box of 100 | 32,034 |
| 7. | GLOVES - CLEANING | Outer glove, good quality, durable. Should have long cuffs, reaching well above the wrist, ideally to mid-forearm, Minimum 280 mm total length Sizes: small, medium, large Reusable. Pack of one pair. |  | Pack of one pair | 50 |
| 8. | WASTE COLLECTOR (CONTAINER) | Large high-quality plastic material container  with separated cover tightly closes the container and manually controlled.  Size 120 Litters minimum.  Inner and outer surfaces are rounded with blunt edges.  Easy to wash, disinfect able and safe use of chemical sterilization materials.  easy movement.  Colours:  half of the quantity is Yellow market with the label: for medical waste (in Arabic) if possible  half of the quantity is green marked with the label: for domestic waste (In Arabic) if possible  supplied with a handle for pushing and minimum of 2 wheels for easy movement. |  | Piece | 100 |
| 9. | SOAP | Liquid. High quality. Hypoallergic, Registered in SYR. Produced according to the Syrian specifications, validity time of at least two third of the shelf life. Bottle of 5 Litters |  | bottle of 5 litters | 11,466 |
| 10. | TISSUE | Pack of 12 boxes (bags). Bag of 500 tissues.  For use in personal hygiene in the waiting area, inside the clinics for drying hands and personal hygiene, |  | Pack of 12 boxes | 728 |
| 11. | BAGS FOR MEDICAL WASTE | High endurance plastic bags. Coloured other than the black which is dedicated for domestic waste. Pack of 12 bags. (Two Colours) |  | Packs | 14,652 |
| 12. | CLOTH | Heavy duty lint free cleaning cloth for dry and wet cleaning. Cotton and cotton synthetic fibre. Size minimum of 50 X 50 Cm The quantity to be supplied in two colours only. |  | piece | 4,000 |
| 13. | FUMIGATION DEVICE | For disinfecting indoor inside the PHCs, clinics, waiting areas, toilets, medical furniture, entrances, stairs, and clinics backyards and surrounding area. |  | Device | 10 |
| 14. | HAND GEL SANITIZER: Hand and skin disinfectants | Alcohol based with Ethanol as the active ingredient at least 70% concentration.  Effective sanitizing with moisturizer or skin conditioner.  Health and industrial registration (the bidder should provide both registration numbers). Produced according to the standard Syrian specification.  All required information including ingredients, registration number and instructions are attached to the product. Bottle 5 Litters  Fresh product with at least two third of the shelf life upon delivery. |  | Bottle of 5 Litters | 13,134 |
| 15. | SANITIZER DISPENSERS | SANITIZER dispenser 500 ML with top dispenser. |  | dispensers | 200 |
| 16. | DISINFECTANTS FOR SURFACES | Alcohol 70% and quaternary ammonium. Bottle of 5 litters |  | Bottle of 5 litters | 9,600 |
| 17. | DISINFECTANTS FOR FLOOR AND FUMIGATION | Hypochlorite Sodium 4-6% concentration.  Or  quaternary ammonium 2-4%. Bottle |  | Bottles of 250 ML | 5,682 |
| 18. | Disposable paper bed sheets | 50 m |  | roll | 50 |
| 19. | Disposable paper bed sheets | 100 m |  | roll | 50 |
| 20. | Sterilizer Uniform | Contains Overall, Goggles and Boots |  | Set | 6,000 |

Signed………………………………. Date…………………………... Stamp …………………………….

Name of Person Signing: ……………………………………………………………

Position in The Company: ………………………………………………………………

Company name: ………………………………………………………………………………………