**Answers to Queries**

Set up of Omni Processor

LRPS-2020-9159504

* Query:

“We are specialized in generate drinking water from sewage but unfortunately, we have no solution for sludge digesting and generate power.

15m³ sewage per day, is from our point of view, a too small organic load for generating power on an economical basis.”

“If a robust and mobile wastewater treatment plant, which provides high quality effluent for safe discharge into nature, ready-to-operate in few days, would be also of interest for solving the problem of river pollution by refugee camps, we are ready to send our offer.”

Answer:

Suppliers can apply and they should provide all relevant documentation that proves expertise and experience noting that the points listed above are not the only terms to qualify or disqualify the potential bidder.

Query:

We see us as specialist in containerized solutions for field missions and not for refurbishment of existing plants like IAAT WWTP.

Answer:

As for the refurbishment of existing plants as IAAT, it’s out of the scope of work but the bidder shall provide guidelines/all the technical design/reservations/technical specifications for the preparation of the necessary civil works to be done to adapt the existing WWTP to receive the OP unit. The major civil work will be undertaken by a local contractor hired by UNICEF. The bidder will be responsible for the drawings, instructions, and follow-up of the implementation of the civil works to ensure that the civil works are performed as per the Bidder request before the work handover.