Regarding the tender “LITB-2019- 9154337 - The provision of pipes and its accessories”, please find bellow our questions:

1. If we have part of the mandatory quantities in stock, can we deliver the available quantities once we sign the contract and the remaining quantity will be redelivered once received after a certain specified duration? NO

2. If we have the required mandatory quantity in stock but in different Brands (manufacturer), is it acceptable? Example: if 5 is required, can we submit 3 from X brand and 2 from Y brand? If the specs of both brands match, then yes it is accepted but preference will be given in case of the same brand then same specs.

3. After signing the contract, we must deliver the whole quantity directly? What is the criteria of delivering the material? After signing, an immediate inspection of the whole quantity will be done then you have to deliver the whole quantity.

4. Can we price specific selected items from BoQ 1(surveying WEs) or we must price the whole items in it? You must only price what you have on stock.

5. Please note we need the specifications that we must submit our offer based on it (pumps, impellers of the pump, chlorinators… please quote us as per the file.

6. For the clamp saddles ITEM “N” in the BOQ, please note that we need the outlet dimensions in order to price it. The outlets is left unspecified so you can quote what’s available.

7. If we have in stock only the mandatory quantity, what will be done for the optional quantities? Quote the available mandatory ones please. Do we have time in order to ensure them and redeliver them to the water establishments? NO If yes, what is the maximum duration to ensure the missing quantities? Not available.

8. If we can submit for selected items, is it acceptable to select specific items under 1 category? Example: Under item “T: supply of power electrical cables”: can we submit our offer “Power Cable size 3x50 + 25 mm2, PVC/PVC” but not for “Power Cable size 3x150 + 70 mm2, PVC/PVC”??? YES

9. FOR BoQ ITEM V “VFDs”: do you need only the VFD or the complete enclosure with MCCB protection, pilot lamps, relays… Only VFD, the complete one is under U1.