**Bid of Quotation**

Name of bidder:

Address:

Telephone:

--------------------------------------------------------------------------

**To: Al Hadatha Organization / Hand in Hand project**

**Akkar- Berkayel**

**+9616370541**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Description | Unit (USD) | Qty | Total (USD) | Comments |
| Drilling of the base (1m\*1m\*1.5m) |  | 30 |  | Need a JCB |
| Casting of the base 45m3 for all bases each unit base 1.5m3 |  | 30 |  | Need to 60 cement bags and 40 m3 defino with 1 ton of iron (1m3 = 70$) |
| Purchasing the poles and bulbs |  | 30 |  | single arm pole, 8m length, Tapered Pole, Steel, Hot-Dip Galvanized. Plastic Coated, Rust Proof, With Arm, Bracket, Flange, Fittings; size ( 150mm - 75mm ) thickness 4mm  80w Led lamp that gives 8400 lux, Bridglux chips, Warm White, IP65, 10000Hr.   Lifespan, Die-casted Aluminum, IP65, High transmittance & density toughened glass ;  2x 150 AH, 12 V flat plate gel battery, gelled battery. Sealed type. Deep Cycle.(life spam 3-4 years)   Maintenance free;  2 x 120W Poly-crystalline. High-Efficiency. A-class, Adding Aluminum Frame, Tempered Glass;   1x Intelligent Solar Controller 15 A, 24 V, IP68. Automatic Light and Time Control  - 1 m3 reinforced concrete base foundation |
| Install the poles and light bulbs |  | 30 |  |  |
| Purchase plastic wheeled waste containers. |  | 150 |  | Size: 240L.  color requested: brown, green or red. |
| **Total cost** |  |  |  |  |

Sign and stamp